SALSIPUEDES SANITARY DISTRICT

MINUTES OF THE APRIL 17, 2019 - BOARD OF DIRECTORS MEETING

Presented on May 15, 2019,  7:00 p.m.

The Board of Directors of the Salsipuedes Sanitary District met at a regular meeting on the above date at the District’s office, located at 739 East Lake Avenue, Suite 2, Watsonville, California.

Call to Order

The meeting was called to order by the Board’s President, David Ferracane at 	7:01 p.m.

Roll Call

Roll call showed that the Board President, David Ferracane and Directors 	Roberts, Rusler and Stumbaugh, were present. Delia Brambila, the 	District’s Secretary/Manager and Ruben Tellez, Maintenance Operator, were 	also present. Miguel Cisneros, Director, and Jeff Roper, District Engineer, 	were not present.

Oral Communications

Minutes

It was M.S.C. (Stumbaugh/Roberts) approving Minutes of the Regular 	Meeting held on March 20, 2019, as presented.

Manager’s Report

A.  District equipment will be cleaned out at end of April.

B.  New storage location will be at Anbar’s Storage on Ross Ave., Freedom.

C.  PG & E claim in bankruptcy court. Claim # 1309. Manager advised the 		     Board that the District has been receiving many buy-out requests from 		     Agencies interested in our claim.

Director’s Comments

None.

Old Business

A.   Update on Pump Stations

Pump Station 1 (Levee) – Motor #1 is running. Motor #2 still needs arm guide 			to be shortened to allow pump to seal correctly.

- Alarms working; alerts to District of “high water level” good.

- Check valve/bypass is heavy. Still works; flow not strong enough to 	push up.

SALSIPUEDES SANITARY DISTRICT

MINUTES OF THE APRIL 17, 2019 - BOARD OF DIRECTORS MEETING

Presented on May 15, 2019,  7:00 p.m.

Old Business  (cont’d)

A.   Update on Pump Stations

Pump Station 2 (Condit Ln) – Both motors are running.

- Having problems with the Level Control getting stuck. Causing “low 	water” level alarm. Air leak fittings have been fixed.  Ruben is 	monitoring.

- “High water” level signal did not register on panel. Ruben notified 	techs and Paul from PV Electric.

- Float system needs to be in place.

Ruben expressed some of his concerns to the Board:

- What is the District’s contingency plan in case we lose electricity?

- What is the District’s plan in case he is not available to go to Pump Stations in the evening? For her own safety, Ruben does not want the District Manager, Delia, to go out there.

- He suggested that the District Board hire a company to complete the USA markings and that Roper complete the inspections of the CalTrans project concerning our main sewer line and removal and relocation of the cleanout on Hwy 152 and Holohan Rd.

- Ruben leaves the Board meeting after this discussion.

B.   Pajaro Valley Rod & Gun Club Project

- Roper has completed the topographic survey

- Copy of letter that was sent to PVRGC was presented to the Board.

New Business

A.   Memo from Attorney Condotti

- Informational letter presented to the Board of Directors.

B.   Sewer Service Charges for 2019-2020

- Percentage rates increased information.

- Roper had emailed a Revenue study for 3% and 5%, however I noticed that the wrong rates were used. District Manager asked Engineer to revise both rate sheets.

- Revised version will be presented at the May meeting.

C.    Performance Evaluation (6 months) for Ruben Tellez (Agendized to add)

- Board discussed employee’s job tasks.

- All agreed that his knowledge of the job has benefited the District.

- Discussion on pay raise.

- It was a three (Ferracane, Roberts, Rusler-yes) to one (Stumbaugh-no) vote to give Mr. Tellez a raise of $5.

It was M.S.C. (Ferracane/Roberts) approving that Mr. Tellez receive a 			pay raise from$22 to $27 an hour. Manager will notify the County.

SALSIPUEDES SANITARY DISTRICT

MINUTES OF THE APRIL 17, 2019 - BOARD OF DIRECTORS MEETING                               Presented on May 15, 2019,  7:00 p.m.

Written Communications

None.

Approval of Warrants

Director Roberts reviewed the April Warrant Listing, Timesheets,

Mileage and Petty Cash reports with SSD Manager Brambila. A copy of the

General Ledger Transactions report for March 2019 has also been 	provided.

Change in final amount is due to Director Cisneros being absent from 	meeting. Original amount was $18,431.09; removing $100 from the 	Directors list.

It was M.S.C. (Rusler/Roberts) for approval of Warrants from April 18, 2019 	through May 15, 2019 in the final amount of $18,331.09.

Adjournment

It was M.S.C. (Rusler/Roberts) approving adjournment of the meeting at 	7:35pm.

Respectfully submitted,

Delia N. Brambila

Secretary/Manager

Approved:  ______________________________________________

Board President   –   David Ferracane

Next Regular Meeting:  June 19, 2019                    Next Resolution: 1084                    Next Ordinance: 101